[Business Name]

Laboratory 
Operations Manual

Table of Contents

1.0	Introduction	6

1.1	Purpose	6

1.2	Scope	6

1.3	Definitions	6

1.4	Responsibilities	8

1.4.1	All Staff	9

1.4.2	Senior Managers	9

1.4.3	Program and Section Managers	10

1.4.4	Responsible Person	10

1.4.5	Collections and Research and other Laboratory Workers	11

1.4.6	Facilities Manager	11

1.4.7	Students and Volunteers	11

1.4.8	Contractors	12

1.4.9	Visitors	12

2.0	Security	13

2.1	Introduction	13

2.2	Key Aspects of Security Management	13

2.2.1	People	13

2.2.2	Buildings	13

2.2.3	Content of Buildings	14

2.3	Reporting Breaches of Security	14

2.4	Authorisation and Approval	14

2.4.1	Employees	14

2.4.2	Honoraries and Volunteers	14

2.4.3	Visitors	15

2.4.4	Contractors	15

2.5	Entry Requirements	15

2.5.1	Vaccination	15

2.5.2	Laboratory Coats	15

2.5.3	Shoes	16

2.5.4	Safety Glasses	16

2.5.5	Gloves	16

2.5.6	Respiratory Protection	16

3.0	Risk Management	17

3.1	Introduction	17

3.2	Risk Assessment Process	17

3.2.1	Standard Operating Procedure (SOP)	17

3.3	Laboratory Instruction, Training and Supervision	18

3.3.1	Training	18

3.3.2	Instruction	18

3.3.3	Supervision	18

3.4	Change Management	18

4.0	Facilities	20

4.1	Air Handling	20

4.2	Lighting	20

4.3	Floors and Walls	20

4.4	Cleaning	20

5.0	Safety Equipment and Consumables	21

5.1	Introduction	21

5.2	Fixed Safety Equipment	21

5.2.1	Safety Showers and Eyewash Facilities	21

5.3	Fire Extinguishers, Fire Blankets and Fire Hoses	21

5.3.1	Introduction	21

5.3.2	Servicing, Checking and Replacement	21

5.3.3	Signage and Placards	22

5.3.4	Portable Safety Equipment	22

5.4	Personal Protective Equipment (PPE)	22

5.4.1	Supply and Maintenance of PPE	22

5.4.2	Use of PPE	23

6.0	Plant and Machinery	24

6.1	Procurement	24

6.2	Fume Cupboards and Extraction Units	24

6.2.1	Fume Cupboard Design	24

6.2.2	Fume Cupboard Maintenance and Testing	25

6.2.3	Fume Cupboard Operation	25

6.3	Cold Rooms, Refrigeration and Freezers	26

6.3.1	Freezer Operation	26

6.3.2	Ultra Freezers	26

6.4	Freezer Maintenance	27

6.5	Autoclaves and other Pressure Equipment	27

6.5.1	Safe Use of Pressure Equipment	27

6.6	Electrical Requirements	28

6.7	Maintenance of Equipment	28

6.7.1	Inspection and Testing	28

6.7.2	Mobile phones and Devices	28

6.7.3	Lifting Equipment	29

6.8	Disposal	29

7.0	Handling and Storage	30

7.1	Chemicals and Contaminants	30

7.1.1	General Requirements	30

7.1.2	Chemical Storage	30

7.1.3	Decanting	31

7.1.4	Contaminated Specimens or Objects	31

7.2	Biological Specimens	31

7.2.1	Introduction	31

7.2.2	Imported Biologicals	31

7.2.3	Contamination	32

7.3	Moving, Handling and Transport	32

7.3.1	Glassware	33

7.3.2	Trolleys	34

7.3.3	Ladders	34

8.0	Incident Response	35

8.1	Sharps Injury and other Biological Hazard Exposure	35

8.1.1	Management of Needle Stick and Biological Exposures	35

8.1.2	Contamination	35

8.2	Spills Management	35

8.2.1	Chemical Spill Preparedness	36

8.2.2	Maintenance and Supply of Spill Kits	36

8.2.3	Emergency Spill Procedure	37

8.2.4	Chemical Spills	37

8.2.5	To Neutralise a Spill:	38

8.2.6	Chemical Spills in Fume Cupboards	38

8.2.7	Biological Spills	38

8.3	Power Failure	39

9.0	Disposal of Laboratory Wastes	40

9.1	Introduction	40

9.2	Responsibility for Laboratory Waste and Laundry	40

9.3	Segregation of Laboratory Waste	41

9.4	Chemical and Solvent Waste	41

9.4.1	Treatment of Chemical Waste	41

9.4.2	Segregation of Chemical Waste	41

9.4.3	General Procedures for Chemical Waste Storage and Disposal	41

9.5	Clinical and Biological Waste	42

9.5.1	Microorganisms, Clinical or other Infectious Waste	42

9.5.2	Liquids Waste:	43

9.5.3	Sharps Waste	43

9.5.4	Waste Containers Bags and Bins	43

9.5.5	Mixed Waste	44

10.0	References	45

11.0	Related Documents	45

12.0	Document History	45

13.0	Document Owner	45

14.0	Document Approval	45

# Introduction

## Purpose

The purpose of this [Business Name] is to provide practical Work Health and Safety (WHS) information and instruction for all who may be required to visit, work or learn in [Business Name] laboratories and facilities.

This manual has been developed to complement other risk management information contained in:

- Work Health and Safety Act, Regulations and Codes of Practice.

- The [Business Name] Emergency Response Plan.

- Australian Standards that are applicable.

## Scope

This manual applies to all employees, volunteers, visitors, contractors and work experience personnel that enter, supply or maintain equipment or product to a [Business Name] Laboratory or associated areas.

Where the [Business Name] must ultimately accept responsibility for the health and safety of persons who visit, work, or learn in the laboratories under its control, it nonetheless recognises that certain key stakeholders can have a significant impact on establishing, implementing and maintaining safety standards within laboratories.

The content of this [Business Name] is especially directed to:

- Staff that are responsible for the laboratory and staff with program or section coordination, and/or management responsibilities.

- Collections and Research staff.

- Facilities Managers or Site Managers responsible for overseeing the design, construction, and maintenance of laboratories.

- Honorary researchers, volunteers and visitors.

- Contractors engaged by [Business Name] to undertake work within a laboratory.

As this [Business Name] covers basic laboratory safety requirements, it is expected that laboratory staff will develop and implement risk assessments and Standard Operating procedures (SOPs) for specific work conducted in the laboratory. A risk assessment should meet the specific safety needs of the task but remain compatible with this [Business Name].

While the purpose of the [Business Name] is to standardise processes and practices across [Business Name], it should be noted that there may be a need for exclusion from certain requirements of this [Business Name] by certain laboratories. These exclusions should be determined by each Program and/or Section Manager, using the risk management process, and then be communicated to all relevant persons and documented in the risk assessment.

## Definitions

| WHS Act | Work Health and Safety Act 2011 |
| --- | --- |
| Australian Standard | A document published by Standards Australia for the purpose of establishing national benchmarks for products and services so as to enhance quality of life and industry efficiency. Australian standards can be advisory, or can be gazetted as regulated standards of compliance |
| Site Manager | The person who has overall responsibility for overseeing the operations and management of the site. |
| Chemical Spill | A chemical spill is taken to have occurred when any quantity of chemical drops, leaks, overflows or by any other means touches any place other than the place intended for the chemical. |
| Code of Practice (CoP) | An advisory document developed for the purpose of assisting employers and employees to meet legal requirements under specific Federal or State legislation. Codes of practice can be regarded as stand-alone documents or can be gazetted as regulations. Failure by an employer to comply with a recognised code can constitute a prima facie case that the duty of care has not been fully met. |
| Competent person | An organisation (company) or person engaged by the [Business Name] under a contract for service to undertake work and/or provide a service on a ‘one off’ or as part of a contract agreement. |
| Decanting Area | Dedicated area for filling small drums and containers with chemical solution from larger containers. |
| Duty of Care | An employer’s legal responsibilities under the Act for the work health and safety of employees. At law these responsibilities are flexible and complex, are not transferable and arise out of a contract of service. Employees have a responsibility to take reasonable care of the health and safety of themselves and others and must cooperate with employers in their efforts to comply with requirements of the Act. |
| Facilities manager | Person responsible for overseeing the design, building, maintenance and upkeep of all property infrastructure within their portfolio. |
| Hazard | A characteristic that is inherent in the work or has the potential to cause death or injury to persons and/or interrupt or interfere with the work process or activity. |
| Laboratory and Associated Facilities | A building or any part of a building that is used or may be used for practical or scientific work or processes. associated facilities include support areas, such as preparation areas, instrument rooms, workshops and stores. |
| Responsible person | The person who has overall responsibility for overseeing the day-to-day activities within a laboratory and associated facility. |
| Lower Explosive Limit (LEL) | The Lower Explosive Limit (LEL) is the lowest concentration (percentage) of a gas or a vapour in air capable of producing a flash of fire in the presence of an ignition source (arc, flame, heat). |
| Loading area | Area dedicated for accepting loads into the facility. |
| Package | A package, by AS 1940-2004: The storage and handling of flammable and combustible liquids definition; is a “receptacle and any other components or materials necessary for the receptacle to perform its containment function, and container having a capacity not exceeding 450 L and having a net mass of not more than 400 kg.” Hence, specimen jars and drums used in the Wet Stores are packages. |
| Program or Section Manager | The person who has overall responsibility for overseeing the management of the work within their portfolio. |
| Needle stick injury | An injury caused by a sharp object, such as a needle or scalpel blade, penetrating the skin. If the sharp object is contaminated by blood, blood products, or body fluids of human origin, there is a risk of transmission of blood-borne infections. |
| Personal Protective Equipment (PPE) | Equipment that must be worn by persons who enter, work or learn in laboratories and associated facilities. The type of PPE required will be determined by the nature of the work and the risk management process. |
| Quarantine Laboratory | A Microbiological Containment PC2 facility. |
| Risk Assessment | A written document that outlines all potential hazards associated with the task, the risks posed by these hazards and the appropriate control measures required to eliminate or reduce the risks. Risk assessments should identify the safest and most preferred method of undertaking a particular task, work practice, process, manipulation, or technique, (including operation of machinery or equipment). Their purpose is to ensure the safety, quality and uniformity of a task among different people. |
| Safety Data Sheet (SDS) | A SDS is a document provided by manufacturers and suppliers describing the properties and uses of a substance including its chemical and physical properties, potential hazards to health, precautions for use, first aid requirements and emergency procedures. A SDS for each substance should be available to all personnel using and/ or exposed to that substance. |
| Standard Precautions | Precautions designed to reduce the risk of injury, illness, contamination or infection when handling blood and body fluids or other materials contaminated with these in the Quarantine Laboratory. Standard precautions should be used to develop risk assessments. |
| Systems of Work | The totality of the methods adopted for carrying out the operations required in a particular workplace. It covers all facets of the employment situation, including the organisation of work processes, the methods of using plant and equipment, job training, and instruction about aspects of safety in the workplace. |
| Ultra-Freezers | Freezers used for the long-term storage of preserved tissue samples, at temperatures of ≤ -70°C. |
| Visitor | A visitor is any person not permanently authorised by the [Business Name] to be in, work or learn in a particular laboratory or associated facility. |
| Volunteer | A person who voluntarily offers themselves for a service or undertaking for the common good and without financial gain. Includes formally appointed Honorary Research Fellows and Honorary Associates. |
| Wet Store | The “wet” specimens are mostly preserved in 70-75% ethanol and 25-30% water solution. This solution is the most commonly used, although some specimens are preserved in formaldehyde, and tissues for DNA analysis are usually stored in a 95% ethanol solution. The “wet” specimens are contained in jars with plastic lids (some have metal lids). These jars are stored as closed packages in the Wet Store. Specimens are often taken from the Wet Store to the laboratories for research purposes. |

## Responsibilities

The [Business Name] is committed to ensuring the health and safety of all staff (employees, volunteers, students and others) in relation to the use of the laboratories.

This Laboratory Operations [Business Name] has been developed to assist all personnel with the safe use of the laboratories to reduce Work Health and Safety (WHS) risks. [Business Name] and staff are obligated to comply with the Work Health and Safety Act 2011 (WHS Act) and other relevant safety and health legislation and policies.

The responsibility for implementation of this [Business Name] primarily rests with management, although it is recognised that staff are well placed to provide advice and feedback on the:

- Appropriateness of the material contained in the [Business Name].

- Effectiveness of the risk control measures outlined in the [Business Name], when applied to the work being carried out within a laboratory setting.

- Practicalities of implementing the [Business Name] within laboratories.

- How well these constructive recommendations improve workability and layout of a laboratory and associated facilities.

### All Staff

Staff who are required to undertake work and/or learning in laboratories are to comply with this [Business Name]. Staff must take personal responsibility for ensuring their own safety and the safety of others, and:

- Report injuries, hazards and 'near misses' incidents using the Incident Report Process.

- Seek information, or advice, where necessary before carrying out new or unfamiliar work.

- Take the action(s) necessary to eliminate or minimise any hazards over which they have control.

- Wear clothing and footwear appropriate for the work being done.

- Only consume, or store, food and drink in designated areas.

- Complete the appropriate safety induction and training.

- Comply with safety instructions, policies, and procedures, including SOPs.

- Make proper use of all safety devices and PPE.

- Follow hazardous chemical requirements, updating the register and Safety Data Sheets (SDS), labelling and storage.

- Report issues with equipment safety.

- Assist with monitoring and testing activities to maintain safe equipment.

- Appropriately dispose of hazardous wastes and materials.

- Be familiar with emergency and evacuation procedures and comply with emergency instructions.

### Senior Managers

Senior Managers are primarily responsible for ensuring that measures are in place to manage health and safety at work. To achieve compliance, Senior Managers should:

- Ensure that staff have resources to develop, implement and monitor the strategies, systems and procedures necessary to ensure that this [Business Name] can be fully implemented.

- Remain aware of legislative or industry changes that may materially affect health and safety management within a laboratory setting.

- Monitor the implementation and effectiveness of the work health and safety standards and practices set out in this [Business Name].

- Monitor compliance with regulatory requirements for the use of hazardous chemicals.

- Monitor the completion of inspections to ensure equipment and facilities remain adequate.

- Monitor resource consumption and waste generation.

- Monitor emergency response preparations and compliance.

### Program and Section Managers

Program and/or Section Managers are responsible for implementing the work health and safety standards and practices, set out in this [Business Name] are followed within laboratories and associated facilities. To achieve compliance with this [Business Name] Program and/or Section Managers should:

- Monitor the program or section work for significant change and implement change management to ensure that systems, equipment and program or sections remain compliant.

- Monitor the work conducted in the program or section to ensure that formal risk assessments are completed by staff, researchers and volunteers and ensure that all appropriate control measures are implemented.

- Ensure that staff receive the information, instruction and training necessary for them to learn and work in accordance with the [Business Name].

- Provide support to those responsible for overseeing compliance with hazardous chemical requirements, with access to chemical management software, storage and resourcing.

- Provide support to those responsible for laboratories for monitoring and inspection activities.

- Provide support to those responsible for laboratories for waste management.

- Provide support to those responsible for laboratories to maintain emergency response information and training.

### Responsible Person

Persons responsible for implementing the work health and safety standards and practices, set out in this [Business Name] are followed within laboratories and associated facilities. To achieve compliance with this [Business Name], the responsible person should ensure that they:

- Report injuries, illnesses, hazards and 'near misses' using the [Business Name] Incident Report.

- Participate and instruct staff on the completion of formal risk assessments for work conducted as part of their area of responsibility.

- Monitor activities within the laboratory to check that risk control measures outlined in risk assessments are implemented.

- Establish, monitor and maintain checks of hygiene and housekeeping standards within their area of responsibility.

- Monitor training and instruction of the persons performing laboratory work in their area of responsibility or research, including the provision of the laboratory safety induction and personal protective equipment.

- Instruct inductees that unauthorised experimentation or procedures are not permitted, and any new work must not proceed until a documented risk assessment is conducted.

- Oversee compliance with hazardous chemical requirements including, register, SDS and storage and labelling.

- Monitor the serviceability of fixtures, portable equipment, and apparatus and facilitate repair and/or replacement as required.

- Ensure that laboratory equipment is cleaned and isolated prior to handover for maintenance.

- Oversee the proper segregation, storage and disposal of hazardous wastes.

- ensure that emergency management information is prominently displayed and maintained within the laboratory.

- Regularly check, test and document the serviceability of specific laboratory emergency equipment, not under the control of the [Business Name] Facilities Manager.

### Collections and Research and other Laboratory Workers

Staff involved in research projects and the care of collections items at [Business Name] have a responsibility to implement measures to ensure the safety of all those associated with their work. In particular, researchers and curatorial staff are required to ensure that they:

- Report all injuries, hazards and 'near misses' using the [Business Name] Incident Report.

- Conduct formal risk assessments on all work that is included as part of the research program and ensure that all control measures are implemented.

### Facilities Manager

The Facilities Manager is responsible for overseeing, coordinating, facilitating or delegating contractual work relating to the (re)design, modification, repair and/or upkeep of a laboratory or facilities, and is required to ensure that:

- Work relating to the (re)design, modification, repair and/or upkeep of a laboratory or facilities is undertaken in a manner that does not compromise the safety of person(s) or property.

- Contractors are competent, hold the appropriate licences, certificates of competency, permits and accreditations and have prepared appropriate risk assessments and work method statements, prior to commencing work, and understand the nature of the working environment.

- Laboratories are provided with adequate facilities to store chemicals.

- All fixed laboratory safety equipment is properly installed and remains in a serviceable condition, including cold rooms, fume and dust extraction units.

- Ladders and chemical cabinets remain fit for use.

- Effective protocols are in place for the handling, storage, transport and disposal of equipment, chemicals and waste.

- Appropriate emergency management plans are developed, implemented and regularly tested and that staff, volunteers and contractors are trained in what action(s) they must take should an emergency arise within a laboratory.

### Students and Volunteers

Students and volunteers often undertake work in the laboratories. It is essential that they:

- Are fully conversant with this [Business Name], any safety procedures that apply to their practical work and the laboratory in general.

- Understand the risk assessments that are relevant to their practical work and are able to implement the risk control measures that are acceptable to the [Business Name].

- Do not undertake any new research work in a laboratory, or associated facility, that is not included in a current risk assessment, without consultation with those responsible and the completion of a formal risk assessment.

- Adhere to the safe work practices at all times.

- Have completed appropriate laboratory safety inductions, prior to commencing laboratory work.

- Adhere to acceptable housekeeping standards.

- Correctly use any safety equipment provided.

- Understand that unsatisfactory behaviour will be dealt with as a disciplinary matter.

- Immediately report all injuries, hazards and 'near miss' incidents to the person responsible for the laboratory or their line manager and submit or assist with the submission of a [Business Name] Incident Report.

### Contractors

- Contractors are required to strictly adhere to any conditions or requirements imposed by [Business Name] in contracts, agreements, scopes of work, specifications, variations, permits to work, risk assessments, work method statements, or that may be part of any workplace induction program, orientation, inspection, handover, or be required under legislation.

- Contractors must comply with any reasonable direction given by laboratory staff in the interests of health, safety and welfare.

- Contractors must immediately report any incident, or any unexpected occurrence to [Business Name] staff.

### Visitors

All visitors are required to comply with any reasonable directions that may be given by laboratory staff in the interests of promoting and maintaining health, safety and wellbeing within laboratories and facilities. Visitors may include, but not necessarily be limited to, other [Business Name] staff, visiting researchers, students, clients, contractors and members of the public.

# Security

## Introduction

[Business Name] houses valuable items and collections that require security management. Each site requires specific security measures to ensure that [Business Name] collections are safe.

As well as the valuable collections, substances and equipment contained within, the laboratories also require specific hazard control measures to ensure that individuals and the community are not exposed to unreasonable levels of risk. Laboratory security plays an important role in ensuring that unauthorised persons cannot readily access hazardous chemicals, equipment, materials or dangerous substances.

Security must be maintained within [Business Name] laboratories to ensure that the laboratories and collections are not readily accessible to unauthorised persons.

## Key Aspects of Security Management

Effective laboratory security measures should focus on the following key areas:

- People.

- Buildings.

- Content of buildings.

### People

People security means that only authorised people should be permitted to enter and/or remain in a laboratory and/or associated facilities. Any member of staff who has reason to believe that there is an unauthorised person in a laboratory, and/or associated facilities, should immediately inform their line manager or Program/Section Manager and contact the Facility Manager or Visitor Service Officers (VSO's).

All staff should carry an appropriate security card and actively monitor the overall security status of the laboratory, and/or associated facilities. Any person who has been provided with a card, or otherwise granted access to a laboratory, and/or associated facilities, by the [Business Name] MUST NOT, under any circumstances, share their means of access with a third party.

People who are behaving in a manner that could compromise security or safety within a laboratory, and/or associated facilities, should be requested to leave. In the event of the person refusing to leave, the Facilities Manager should be immediately contacted.

Access by contractors to a laboratory, and/or associated facilities, is conditional upon the contractor following all the security requirements relating to the laboratory, and/or associated facilities.

### Buildings

Building design and construction is critical to maintaining the security of a laboratory and its contents. In some cases, buildings have alarms installed to alert security staff that an unauthorised entry has occurred, or an event requires a particular emergency response - e.g., a fire alarm has been activated.

Staff must familiarise themselves with all alarm systems within the laboratory to ensure that they can respond effectively and without delay.

The windows and doors of all laboratories must be kept locked and secure when the laboratory is not occupied. Swipe card readers, automatic door closers, self-locking doors and other forms of building security equipment must be maintained to a serviceable operating standard. Staff are required to report any unserviceable or malfunctioning equipment to the Program or Section Manager or Facilities Manager for rectification.

Under no circumstances should security, fire or self-locking doors be chocked open.

### Content of Buildings

Laboratories contain a range of ‘at higher risk’ chemicals, materials and equipment that require different levels of secure storage.

The storage facilities should be kept closed and locked when not in use (e.g., storerooms, chemical cabinets, cool rooms, fridges, freezers).

Staff must also ensure that ‘at higher risk’ chemicals, materials and equipment are handled and stored correctly at all times so that the risk of injury to persons and/or theft from a laboratory is reduced to a minimum.

Only the minimum quantities of ‘at higher risk’ chemicals, substances, materials and equipment should be left in the general work area of the laboratory for the period of time required to achieve the desired research outcome(s).

## Reporting Breaches of Security

All breaches of laboratory security, including suspected breaches, should be documented using the incident report form and reported to the [Business Name]’s Facilities Manager.

## Authorisation and Approval

Each person that enters a [Business Name] laboratory must have authority or approval to enter the laboratory. Entry under this is authorised or approved under one of the following provisions:

- As an employee or volunteer of [Business Name] and in accordance with the person’s duties or role with [Business Name].

- As an external visitor while under direct supervision of an inducted laboratory worker following general visitor login.

- As an external visitor with written approval via completion of the induction checklist with the person in control of the laboratory following general visitor login.

This allows for documented authority to enter a [Business Name] laboratory.

### Employees

[Business Name] Employees must complete the [Business Name] induction and receive instruction and training in the equipment and tasks to be performed. A [Business Name] employee is authorised to enter a laboratory based on the specific requirements of their role.

Employees should monitor the access to the laboratory and challenge visitors or contractors entering or working within the laboratory if the contractor or visitor’s access to the laboratory has not been communicated or does not comply with this manual.

### Honoraries and Volunteers

[Business Name] volunteers must complete the [Business Name] induction and receive instruction and training in the equipment and tasks to be performed. A [Business Name] volunteer is authorised to enter the laboratory if their role pertains to work within the laboratory and the work aligns with [Business Name] business priorities.

Approved fully inducted Honorary Research Fellows or Honorary Associates have the same responsibilities as staff and can be granted security card access in line with their level of expertise and functional work area.

### Visitors

Laboratory access by visitors, not employed by [Business Name], must be planned and pre-approved by the person in control of the laboratory.

Visitors to laboratories must not expose people or [Business Name] to significant WHS or business risks and the purpose of the visit must align with [Business Name] business priorities.

Visitors must be supervised while inside the laboratory and must not perform any laboratory work, unless authorised to do so.

### Contractors

The [Business Name] procurement requirements must be followed when engaging a Contractor to work in a [Business Name] laboratory. Facilities must either be informed or involved in arranging for the contractor to perform work within the laboratory.

Excluding an emergency response, the contractor/s are required to submit a Safe Work Method Statement (SWMS) or Job Safety Analysis prior to the work commencing, to ensure that the hazards present are adequately assessed and controlled.

The SWMS may require that laboratory activities cease while the contractor is present or that the contractor work is scheduled and occurs outside of normal operating hours. Laboratory workers must be informed of the need to cease laboratory activities and when contractor work is likely to occur.

Contractors must be escorted to the laboratory and the work and area inspected upon completion of the work to ensure that the work and the area is safe.

A contractor may visit the laboratory as a visitor if the contractor is not using powered equipment or working on laboratory equipment or installations, such as when assessing the scope of proposed work or developing a quote.

## Entry Requirements

All personnel must take precautions to minimise and eliminate exposure to risk by conforming to the entry requirements for the laboratory. Each laboratory will define its own requirements based on the risks present and the determination of a risk assessment. Key aspects that must be determined include vaccination requirements and Personal Protective Equipment (PPE) restrictions.

### Vaccination

Vaccination or proof of immunity is mandatory for any person performing work that exposes the person to the risk of biological infection, for which a vaccination is available.

Immunity testing and vaccination is provided by [Business Name] or the person’s employer. Proof of vaccination must be available upon request or provided prior to access.

Exclusion from Q Fever vaccination requirements applies when all the following conditions have been met:

- Wearing P2 respiratory protection.

- Performing work for less than 4 hours.

- When no laboratory activities are being conducted, and

- The risk of exposure is minimal.

### Laboratory Coats

All visitors, volunteers and employees entering the laboratory, when laboratory work is being performed, must put on a laboratory coat as they enter the laboratory, as required by the laboratory risk assessment. Contractors performing work are not required to wear laboratory coats, however laboratory work should be suspended while contractors are present.

If a laboratory coat is deemed mandatory in the laboratory, and a person enters the laboratory and does not immediately put a laboratory coat on, then the laboratory work must cease while a person is present and not wearing a laboratory coat.

The laboratory coat must be properly fastened and protect the arms and body. Long-sleeved cotton or cotton/polyester laboratory coats or wrap-around gowns are recommended for general laboratory work (AS/NZS 2243.1:2005 clause 4.2.2).

[Business Name] will supply and launder laboratory coats, where deemed mandatory.

### Shoes

The standard for shoes worn in a [Business Name] laboratory is enclosed shoes that cover and protect the heal, toe, sides and top of the foot. Shoes should be flat or have a minimal heel, securely attached with a non-slip sole. Thongs, sandals, sling backs, shoes with open sections or bare feet are not permitted.

### Safety Glasses

Clear safety glasses are worn by personnel accessing a laboratory where laboratory work is being conducted and the risk in the laboratory includes biological or chemical spill or splash. Safety glasses must conform to Australian Standards 1337. Workers requiring corrective optical lenses should wear safety glasses that incorporate the corrective properties of the prescribed lenses.  (Refer to [Business Name] policy for the provision of prescription safety eyewear to confirm if subsidy is applied).

### Gloves

Protective gloves are worn by personnel accessing a laboratory where laboratory work is being conducted and the risk in the laboratory includes biological or chemical spill or splash or the risk of damage to collection items or specimens. Gloves must conform to Australian Standards 2161. Review SDS to identify appropriate glove types. Avoid using latex gloves to minimise the risk of sensitisation or allergy response.

### Respiratory Protection

[Business Name] laboratories will be assessed to determine where there is a significant risk of inhaling harmful chemicals or substances, including biological agents, chemical fumes, and dust. [Business Name] laboratories with significant risk of exposure will have signage identifying the access restrictions and the type of respiratory protection that is mandatory. The type of respirator that will be required will be determined based on an assessment of the hazard, risk of exposure and the vaccination status of the individuals permitted to access the laboratory.

Where respiratory protection has been determined to be mandatory within a [Business Name] laboratory, respiratory protection must be worn, when laboratory work is being conducted, and when the laboratory work has been paused or ceased.

As an example, where a laboratory has Q Fever risks identified as a significant risk, the use of either vaccination or P2 respiratory protection will always be mandatory. This requirement remains in place both when the laboratory work is being conducted and after hours when laboratory work has stopped, and when contractors need to enter the laboratory.

# Risk Management

## Introduction

[Business Name]’s Risk Management Policy and procedure imposes obligations on managers and responsible persons to identify all foreseeable hazards that may arise from the conduct of personnel using its facilities, to assess the risks of those hazards and to eliminate the risks, but if not reasonably practicable to do so, to control the risks. This means that when an occupational hazard has been identified, a risk assessment process, in consultation with laboratory users, must identify what needs to be done to eliminate the risk in the first instance, or if this is not possible, deciding on appropriate control options to minimise the risk.

## Risk Assessment Process

The approved [Business Name] risk assessment tool (Risk Management procedure) is to be referred to for the outlining of the basic steps to be followed when conducting a risk assessment for specific tasks and projects. Template risk assessment and instructions on their use including approval procedures are available on the [Business Name] intranet site. Managers of individual laboratories should ensure that appropriate procedures are in place for storing and sharing the relevant risk assessments within [Business Name].

The responsibility for conducting risk assessments is detailed in Part 1.4 Responsibilities.

Laboratories are deemed by the [Business Name] to be relatively high-risk areas, due to the potentially hazardous chemicals used within them.

The list below sets out some widely recognised, and accepted, critical times for conducting a risk assessment:

- When a new hazard, hazardous situation, or hazardous process, has been identified.

- Before a complex task is to be modified or changed, or conducted in a new area, or if there is a different or unexpected outcome.

- When a significant change is to be made to a workplace, a procedure or a protocol.

- After an incident, or illness, has occurred.

- When new plant, or equipment, is to be used or modifications are made relating to its design, construction or use; and/ or

- When there is to be a change, or a change is flagged, to legislation or regulatory advice affecting the workplace or any activity conducted therein.

Hazards present within the laboratory are assessed to identify and implement appropriate and effective control measures. The risk management process must align to the [Business Name] Risk Management procedure.

Each item of equipment and each complex task must have a documented risk assessment and Standard Operating Procedure (SOP), or operating manual.

### Standard Operating Procedure (SOP)

SOPs are developed from a risk assessment and the equipment manufacturer’s instructions. SOPs provide clear instruction on the safe method of work, the personal protective equipment, the hazards involved and appropriate precautions to take before and after the task. An SOP is developed for the use of specific equipment and a process or task that is complex or involves significant risk.

All routine tasks and the process for using equipment must be covered with either an SOP or a risk assessment. The people conducting the work must either be trained or being trained using the SOP or have signed the risk assessment before starting the work.

## Laboratory Instruction, Training and Supervision

Any person entering laboratory facilities must undergo the appropriate laboratory safety induction training. The level, and detail, of the safety induction training should depend upon the work or activities to be undertaken whilst in the facilities.

Safety inductions and training for staff and students must be conducted before laboratory work can commence.

It is the responsibility of the Program or Section Manager to appoint the person responsible for conducting the safety induction. The Program or Section Manager must also establish, and maintain, a record of any person who has attended the training.  Records must be kept for at least five (5) years.

### Training

Workers that have not previously used an item of equipment or undertaken a process or task must be trained in the SOP or risk assessment for the task, equipment, or process. Records of training must be kept on e-file.

All staff are required to undergo certain training depending on their role, against which competency may also need to be recorded. Mandatory training includes site and functional workspace inductions, emergency response training and Code of Conduct training. The [Business Name] training platform is used to administer and keep records of Mandatory training.

Additional training may include First Aid training and Work Health and Safety (WHS) Representatives training.

Each site will keep records of the required and completed training. All staff are expected to take an active role in keeping competency training records and registers up-to-date, especially in relation to training which is not centralised on the online [Business Name] training platform.

### Instruction

Everyone within the laboratory must follow the reasonable instructions and signage provided for work health and safety.

### Supervision

Managers and those responsible for the laboratory activities must observe and monitor the activities that occur within the laboratory to ensure SOP and risk assessment requirements are followed, to provide coaching and advice and to maintain compliance. The level of supervision, observation and guidance should be adjusted to suit the experience and performance of team members with those that are learning to operate equipment or undertake a process or task receiving additional supervision and guidance.

## Change Management

The laboratory facilities and equipment are designed based on the hazards and risks from the current and planned scope of work. Before changes are made to the scope of work, the change management process must document the review of the capacity of the facilities, storage and equipment to ensure that the change does not exceed the capacity of the facilities, storage and equipment; and to ensure that required adjustments are made so that safety within the laboratory is maintained.

New equipment or changes to the scope of work may require additional maintenance requirements, inspection or testing of equipment, these changes will have ongoing impact on maintenance and training of personnel, this must be included in budget planning.

Changes to rostering may remove key emergency response personnel or require additional security during normal closing hours, these changes will need to be communicated with [Business Name] personnel responsible for emergency response planning and security.

# Facilities

## Air Handling

Laboratories can be air conditioned, they can have controlled temperature and humidity, or they can be open air laboratories. The air handling provisions are designed to align to the work conducted within the laboratory. Laboratory work that involves the generation of dust or chemical fumes will have local exhaust ventilation systems. Workers must use the local exhaust vents to remove the dust or fumes generated during work. Facilities personnel will advise laboratory workers if maintenance activities are likely to affect air handling within the laboratory. Report any problems with air handling systems to [Business Name] Facilities.

Workers must not be asked to conduct work for extended periods within a laboratory where the air handling systems and ventilation system that would normally be in place are not functioning.

## Lighting

The light levels within the lab are designed to meet the needs of the work, and the equipment within the laboratory. Shadows can form if large equipment or storage shelving is moved. Lighting needs to align with the location of shelving and the intended use of the area such as storage or analysis work. Contact [Business Name] Facilities if changes are needed to the lighting or if lights are not working.

## Floors and Walls

Floors and walls should suit the work conducted in the laboratory. Laboratories with biological risks require floors and walls that are smooth and waterproof, to facilitate spill clean-up and minimise absorption. Maintain the waterproof surfaces and avoid any actions that would penetrate protective surfaces and apply protective covers on equipment when not in use. Heavy mats that are difficult to move and clean should not be used within the laboratory environment, shoe cleaning sticky mats that require minimal moving and cleaning are acceptable.

## Cleaning

Laboratory workers are responsible for maintaining a clean work environment. Rubbish must be placed in rubbish receptacles and benchtops cleaned by laboratory personnel.

[Business Name] cleaning personnel will enter laboratories and conform to vaccination and mandatory PPE requirements. [Business Name] cleaning personnel will empty general rubbish receptacles and clean floors of normal debris or dirt. [Business Name] cleaning personnel will not clean obvious spills of chemical or other liquids or laboratory specimens or similar, this must be cleaned by laboratory personnel who understand the hazards and risks and the safe manner of cleaning such spills.

# Safety Equipment and Consumables

## Introduction

All laboratories are required to have safety equipment installed, and/or available, to manage the residual risk(s) that cannot be entirely eliminated by:

- Effective building design and construction measures.

- Limiting the use of hazardous chemicals, substances or work practices.

- Implementing fixed guarding or other engineered hazard containment measures.

Safety equipment falls into three key categories: fixed; portable; and PPE.

## Fixed Safety Equipment

The number, location and type(s) of fixed equipment has been determined by the Facilities Manager, in consultation with Program Managers and staff, having regard to relevant Australian standards, building codes and best industry practice.

Fixed safety equipment can include, but may not be limited to:

- Safety showers with/without eye wash facilities (for further information see AS/NZS 2982.1).

- Bench mounted fume extraction systems (down-draft sinks).

- Fume cupboards, Section 15.4 Fume Cupboards.

- Drainage pits.

- Approved storage cabinets.

### Safety Showers and Eyewash Facilities

Safety showers with/without eye wash stations must be made available in all laboratory areas where there is a risk of personal contamination. Access to safety showers should be unobstructed and within 10 metres of the work area. Safety showers and eyewash facilities should be regularly checked and flushed to ensure water does not become stagnant and are ready to use in the event of an emergency.

Where eyewash facilities are not incorporated in a safety shower, they should be provided separately and in accordance with AS/NZS 2982.1. In older laboratories, which have not been built to comply with AS/NZS 2982.1, single use packs of sterile eye irrigation fluids should be provided rather than refillable eyewash bottles, because of the danger of growth of microorganisms in multiple use eye irrigation fluids.

For specifications and installation requirements refer to AS/NZS 2982.1 and AS 4775.

## Fire Extinguishers, Fire Blankets and Fire Hoses

### Introduction

Fire extinguishers, fire blankets and fire hose reels can be regarded as a type of emergency equipment. In the case of fire, the use of fire extinguishers, blankets and hose reels should not be preferred ahead of an effective building evacuation.

Before using a fire extinguisher, read the instructions to ensure that it is appropriate to the type of fire.

### Servicing, Checking and Replacement

Fire extinguishers, fire blankets and fire hose reels are serviced, checked, and replaced under a contract that is managed by the Facilities Manager.

Fire extinguishers that have been discharged, either partially or completely, should be reported to the Facilities Manager so that a replacement can be arranged.

Under no circumstances is a used extinguisher to be returned to its wall mount.

### Signage and Placards

All fire extinguishers and hose reels must be signed and placarded with correctly installed Australian standards approved symbols.

Any signs and/or placards that are not clearly legible must be reported to the Facility Manager so that replacements can be arranged.

### Portable Safety Equipment

The number, location and type(s) of portable emergency equipment has been determined based upon the particular hazards and risks that are associated with the work and/or learning activities undertaken.

Portable safety equipment can include, but may not necessarily be limited to:

- Eye wash sprays.

- First aid kits.

- Spill kits.

- Trolleys.

- Approved storage containers and cabinets, e.g., dangerous goods cabinets.

- Protective shields.

- Breathing apparatus.

## Personal Protective Equipment (PPE)

PPE is equipment required to be worn by all who work in, learn in, visit or are otherwise contracted to undertake work in a laboratory. Only PPE that complies with Australian standards is to be worn in a laboratory under the control of [Business Name] (Refer to AS/NZS 2243.1:2005).

The type of PPE that must be worn will be determined by the nature of the work being conducted and the outcomes of the Risk Assessment process (Refer to Part 3.0 : Risk Management).

The following PPE must always be worn in the laboratory unless lesser requirements can be justified by a risk assessment:

- Properly fastened laboratory coat that protects the arms and body.

- Non-slip, closed-in shoes.

- Australian standards approved safety glasses, goggles or eye protection, appropriate to the type of work performed.

PPE shall be selected and used in accordance with Australian standards as follows:

- Laboratory coats (AS/NZS 2243.1: 4.2.2).

- Eye and face protection, safety glasses, spectacles, goggles etc (AS/NZS 2243.1: 4.2.2 and AS/NZS 1336, 1337 and 1338).

- Respiratory protection, masks, respirators, etc (AS/NZS 1715 and 1716).

- Gloves (AS/NZS 2161).

- Hearing protection (AS/NZS 1270).

- Footwear (AS/NZS 2210).

### Supply and Maintenance of PPE

Staff, volunteers and visitors must be supplied with:

- The necessary Australian standards approved PPE to undertake their work in a safe manner.

- Training in the correct use of the equipment.

- The means to maintain the equipment to a serviceable standard.

- Laundering arrangements for PPE such as laboratory coats.

[Business Name] can, however, as a condition of research, or visiting a laboratory, and/or where a risk assessment specifically calls for PPE to be worn, require staff and/or visitors to obtain Australian standards approved PPE at their own expense.

All contractors are responsible for supplying and maintaining their own PPE. All contractors undertaking work in a laboratory must wear the requisite Australian standards approved PPE.

### Use of PPE

Staff and other persons are required to use the equipment appropriately and to take reasonable care and maintenance of the equipment during its working life.

PPE must be inspected prior to use to ensure that it is:

- Clean and undamaged.

- Complete with nothing missing.

- In good working order.

- Fits the needs of the worker.

- Suitable for the work.

PPE must be used according to the manufacturer’s instructions this includes:

- Cleaning.

- Donning and doffing method.

- Storage in a designated location.

# Plant and Machinery

## Procurement

All equipment and appliances used for laboratory work must be designed for commercial use. Domestic equipment and appliances are not appropriate for laboratory use. Personal appliances and equipment must not be installed or used within the laboratory.

Procurement of laboratory equipment must follow [Business Name] procurement requirements.

Review the anticipated lifecycle of the equipment at procurement, consider:

- How long will this equipment meet the needs of the laboratory or [Business Name]?

- What are the operating costs, required ongoing supplies?

- What are the anticipated repair and maintenance costs?

- Can this item be repurposed or recycled?

- What are the requirements for disposal?

- Should this item be leased rather than purchased?

## Fume Cupboards and Extraction Units

Fume cupboards and extraction unites are safety devices, used within a laboratory, to ensure that persons are not exposed to toxic fumes during research or collection work, and/or while other related work, such as decanting, is undertaken.

Fume cupboards or extraction units should be used for all operations that have the potential to generate fumes, mists or dusts of a hazardous nature. The purpose of the fume cupboard is to capture, dilute and ultimately discharge fumes in a safe manner to the outside atmosphere. Air that has been extracted from fume cupboards or by extraction units should not be recirculated to any other rooms.

The serviceability, reliability and performance of fume cupboards and extraction unites are regarded as critical to ensuring effective hazard management within a laboratory.  Fume cupboards are classified as hazardous areas (see AS/NZS 60079.10.1:2009) and must be designed and located according to AS/NZS 2243.8:2006 Safety in Laboratories – Fume Cupboards: Section 2.10.

### Fume Cupboard Design

Summary of design requirements:

- Materials used in the construction of fume cupboards are to be resistant to the chemicals being used.

- Materials should be easy to clean and have a smooth finish to allow for safe manual washing of the interior.

- Utilities within the fume cupboard, such as gas, electricity, and water, should be positioned appropriately to minimise the risk of fire or explosion.

- Emergency isolation switches for gas and electrical power should be appropriately labelled and adequately identified.

- Power supply to the fume cupboard exhaust system should not be interrupted in the event of emergency power isolation but be separate and visually and audibly alarmed in the event of failure.

- Lighting within the fume cupboards should give adequate illumination of the work area.

- A warning label located on the fume cupboard should specify the maximum spill containment volume of each unit, with a direction for activation of the emergency isolation switch in the event of a spill.

- Fume cupboards should have a unique identification label that includes the manufacturer’s details, model number, and any special features incorporated in the design, for example, scrubbers for perchloric acid use.

### Fume Cupboard Maintenance and Testing

All fume cupboards, including the ductwork and exhaust stacks, should be regularly inspected and a regular maintenance program should be in place, in accordance with the manufacturer’s recommendations, statutory requirements and relevant standards.

[Business Name], through the Facilities Manager, engages a licensed contractor for programmed preventative maintenance, performance testing and servicing, and breakdown maintenance of all fume cupboards throughout [Business Name] laboratories.

All performance tests and measurements, relating to the performance characteristics of fume cupboards, will be carried out in accordance with the Australian Standard 2243.8, Appendix B.

Prior to any maintenance of fume cupboards, each responsible person must ensure that all equipment, hazardous materials and chemicals are removed from the fume cupboard.

Each responsible person should ensure that contractors, who are required to access a laboratory area to perform maintenance or service work, are made aware of the hazardous nature of materials and equipment contained within that area, as well as the necessary emergency and decontamination procedures.

During maintenance, the fume cupboard should be tagged as follows: ‘Out of Service – Do Not Use’.

After completion of fume cupboard testing, for compliance with the relevant standards by the contractor, a self-adhesive label should be attached indicating the inspection date, name of inspector and report number, overall test result (pass or fail) and the date the next inspection is due.

### Fume Cupboard Operation

To ensure that fume cupboards provide, and maintain, the highest level of hazard control, the following guidelines shall apply:

- Chemicals and substances that are highly toxic, volatile, corrosive, flammable, explosive, odoriferous, chemically active or noxious must be used in fume cupboards.

- Fume cupboards must not be used as storage facilities for hazardous chemicals or experimental equipment.

- Excess materials, used in the fume cupboard during experimental work, may interfere with airflow and compromise the efficiency of operation of the fume cupboard.

- Materials and equipment should be kept to a minimum and positioned at the back of the fume cupboard to reduce disturbance to airflow. If large amounts of equipment are to be used in fume cupboards, then it should be placed on a platform that has a 2cm - 5cm clearance from the bench surface, to allow for balanced airflow and fume containment.

- When using the fume cupboard, the sash should be lowered as far as practicable to improve fume containment.

- Drafts from windows and doors and other room air turbulence (e.g., fans), can affect the performance of the fume cupboard and should be reduced in order to minimise the risk of exposing the user to contaminants.

- Only solid laboratory apparatus, or equipment, may be stored under fume cupboards, no gas or liquid is to be stored underneath a fume cupboard; and

- After completion of work, all materials and equipment should be cleaned and removed, and the fume cupboard should be cleaned and decontaminated.

- Clean the fume cupboard with copious amounts of water, wiping down with a cloth and drying with paper towels. Identify the appropriate PPE to be worn while cleaning by reviewing the risks in a risk assessment.

## Cold Rooms, Refrigeration and Freezers

All cold rooms, refrigerators and freezers should be supplied as commercial equipment, and in consultation with [Business Name] facility personnel to ensure that arrangements are made for backup power supply.

### Freezer Operation

Freezers must be used properly to minimise ice-build up and overloading, operators should:

- Ensure that internal doors within freezers are closed properly before the main door is shut, and that both are closed as quickly as possible. This prevents warm air entering and reduces ice build-up.

- Keep samples in boxes and place boxes in racking, to allow for quick retrieval.

- Do not overfill freezers. Items should not block grills, vents or obstruct the airflow to and from the coolers, as this will compromise temperature control. Avoid leaving large empty spaces in freezers. The majority of the energy a freezer uses is spent cooling the air that enters upon opening the freezer door. If large areas of the freezer are empty, use spare polystyrene ice boxes to fill them.

- When back-up Ultra-freezers are not being used, lower them to a set point temperature of -70˚C. This will both reduce energy and extend the life of the freezer, by lowering the duty cycle.

- Make sure the freezer is reaching its temperature set point. If you can hear the compressor running constantly, or if the freezer is set for a specific temperature and is not reaching that temperature, inform the Facilities Manager and have the unit looked at immediately.

### Ultra Freezers

Ultra-freezers have been provided for the preservation of tissue samples. The frozen tissue collection is primarily made up of two preservation types, ethanol and ultra-frozen tissue.

Ultra freezers should be located in a well-ventilated space, away from sources of heat such as sunlight or warm rooms. Locations must be designed to effectively remove heat generated from Ultra-freezers. Consequently, ambient temperatures can reach as high as 32˚C, especially during summer. Operating Ultra-freezers at these ambient temperatures increases energy consumption and increases the risk of freezer failure, endangering samples. Ensure that there is space around the unit’s vents to allow it to draw in and expel air. Ultra-freezers need at least 200mm of clear space on the top, and a minimum of 150mm of clear space at the rear and on both sides. Do not store items on top off or around Ultra-freezers.

When using the ultra-freezers, these procedures must be followed:

- Ensure all vials for ethanol stored samples are topped up with ethanol solution and securely fastened.

- Ensure boxes and vials are clearly labelled.

- Ensure that ultra frozen tissue is stored in the ultra-frozen tissue dedicated ultra-freezers. This is to ensure easier rescue during emergencies, as these tissues are the highest priority.

- Fully prepare yourself before opening the freezer. Know what you need and have gloves on.

- Do not leave the doors open unnecessarily.

- If you need to sort through many boxes, put them out into the -20 freezer before sorting through them.

- Work in stages, so the freezer isn’t open consecutively for too long.

- Fill in logbook.

- Once finished, check freezer begins to drop in temperature after you have closed the door to ensure freezer is working again.

- Enter data into database.

## Freezer Maintenance

Regular maintenance checks should be performed on all freezers, ideally on a monthly basis and at the least every six (6) months. The Facilities Manager is responsible for arranging these checks and has a set timetable. Poor maintenance can increase condensing temperature, or reduce evaporating temperature, by several degrees. To avoid personal injury, and damage to the freezer or samples, maintenance should only be carried out by a nominated and suitably qualified contractor.

Clear away any ice build-up with a soft cloth, dustpan and brush, or rubber mallet. Avoid sharp tools and be cautious to avoid damaging the rubber seals and gaskets. As frost builds up on the evaporator coils the heat transfer rate in the ultra-freezer cabinet is decreased due to the insulating effects of ice. This means the compressor has to work harder and longer to maintain cool temperatures, wasting more energy. Removing the ice regularly can also extend freezer life.

If the ice layer is too hard and thick to remove gently, perform a full defrost by following the manufactures instructions.

## Autoclaves and other Pressure Equipment

Autoclaves, also known as ‘steam-under-pressure sterilisers’, are pressure vessels that fall under the definition of pressure equipment. They are usually located in laboratories and are used for sterilization of media and equipment required for the culture of microorganisms, and/or the decontamination of discarded cultures, or biological, clinical waste materials.

Pressure equipment also includes pressure piping and boilers, e.g., water-tube, electric and hot water heaters, fired pressure cookers, etc. Pressure equipment in this section does not include gas cylinders.

Almost all pressure equipment is hazardous, i.e., has the potential to cause harm, injury or illness, or damage to plant, property and the environment. Therefore, all work involving the use of high-pressure equipment is also potentially hazardous due to the risks associated with the generation of high levels of pressure and high temperatures during operation.

Serious accidents may occur if this type of plant or equipment is not designed, constructed, operated and maintained in accordance with Australian standards.

### Safe Use of Pressure Equipment

Standard operating procedures should be followed to manage the use and operation of pressure equipment. Suitable work practices should be implemented and periodically reviewed, and operation and maintenance procedures audited for legislative compliance.

All persons involved in the use, or operation, of pressure equipment must be trained prior to its use. Training should include awareness of the hazards associated with high pressures and temperatures, standard operating procedures, emergency procedures, and the appropriate control measures required to ensure protection of personnel, equipment, and the environment.

Safety requirements for the use of high-pressure equipment are specified in AS 2243.6, as follows:

- Only materials and equipment designed to withstand high pressures shall be used in its manufacture.

- If equipment includes a boiler, e.g., steam autoclaves, then the boiler shall have fitted an appropriate safety valve, water level alarm, and fusible plug, in conjunction with a temperature gauge.

- Safety valves, and other methods of pressure release, and remote methods of power cut-off, shall be sited so that their operation cannot injure people or damage equipment.

- Safety valves, incorporating a means of manual release, shall be operated regularly, to ensure correct operation. They shall not be adjusted by unauthorised persons and, where provision is made for locking, shall be kept locked.

- Regular inspection and certification of pressure vessels, by an independent inspector, is mandatory, as specified in AS1200.

- If glass apparatus is to be pressurized, it shall be screened, and full-face protection shall be worn by the operator.

## Electrical Requirements

All general-purpose outlets installed within a laboratory are connected to a maintained residual current device or safety switch.

Electrical equipment that is owned by [Business Name] and used within [Business Name] laboratories for laboratory work does not require electrical testing and tagging.

All other electrical equipment used within a [Business Name] laboratory must be tested and tagged.

## Maintenance of Equipment

Equipment and appliances must be maintained and repaired by competent personnel. Equipment that is damaged, not working or out of service must be identified as such using [Business Name] Isolation, lock out tag out systems.

All equipment must have the source of power isolated prior to it being dismantled, cleaned or repaired. Electrical equipment must be unplugged and air disconnected from air pressure powered equipment. Equipment with springs or kinetic energy must have the energy discharged or restrained.

Hardwired equipment, cold rooms, fridges, freezers, and pallet racking are maintained by [Business Name] Facilities. All other equipment must be maintained by the laboratory, with records of scheduled inspections, maintenance and repairs.

### Inspection and Testing

Equipment such as microscopes and centrifuges must be inspected regularly to ensure the equipment does not affect the safety of the user. The responsible person is expected to monitor the schedule of inspection and maintenance of this equipment either completing the inspection or ensuring others complete the inspection as scheduled.

### Mobile phones and Devices

Mobile phones must be protected from contamination from laboratory processes, hazards and risks, and cleaned thoroughly following use within a [Business Name] laboratory. The mobile phone or device should be kept away from contaminants, preferably within an enclosed space away from laboratory activities. If the mobile phone or device enters the operational area, the mobile phone or device should be either enclosed within a sealed bag, that can be discarded or thoroughly cleaned. If a mobile phone or device has been used within a laboratory where biological risks are present it must be cleaned using 70% alcohol or 1% Virkon solution.

Mobile phones are not intrinsically safe and must not be taken into a laboratory that has quantities of flammable goods that exceed minor storage limits as defined in AS1940.

### Lifting Equipment

All equipment used to lift and hold heavy or palletised loads must be used in accordance with the capacity of the equipment. Forklift operators must hold a current high risk work license to operate a forklift. Operators of a [Business Name] forklift or pedestrian forklift must be trained and deemed competent to operate the equipment and must complete the prestart check prior to use.

Pallet racking must be inspected annually by a competent person and maintained by Facilities Manager.

## Disposal

Consideration for the lifecycle of all equipment procured will minimise the need to consume and dispose of equipment. Equipment must be disposed of according to legislative requirements, with preference for reuse and recycling where possible.

The cost of chemical disposal is borne by the Program disposing of the chemical, specimen, equipment, or other waste. Chemicals should be procured in amounts that minimise wastage and avoid the need for the disposal of chemicals in significant quantity.

Household or personal chemicals must not be disposed of using [Business Name] disposal processes or resources.

Biological waste must be secured and stored in a manner that minimises the generation of offensive odours and exposure to infectious waste or spills.

# Handling and Storage

## Chemicals and Contaminants

### General Requirements

While chemicals are kept in the laboratory the following precautions apply:

- SDS for all hazardous chemicals, and dangerous goods, must be readily available to all personnel.

- All formalin is to be used in the fume cupboards, or in the specially designed formalin tank. If specimens are too large, outside work will be permitted with a risk assessment in a well-ventilated area using appropriate PPE as required by the risk assessment. The risk assessment must also consider spill containment and emergency procedures.

- Specimens and containers should be handled in a manner that will reduce the likelihood of spills and leaks, normally through use of a trolley; and

- When transporting dangerous goods, they must be packaged in approved containers that are in good condition and properly closed to prevent leakage, spillage or shifting during transport.

### Chemical Storage

Chemicals must be stored in accordance with [Business Name] Hazardous Chemical Procedure. Appropriate containment should be considered for any location where dangerous goods or hazardous chemicals are stored or handled. Chemicals must be stored according to their compatibility, e.g., flammable liquids are kept segregated from corrosive chemicals. Refer to Appendix A Dangerous Goods Segregation.

- Incompatible chemicals must be segregated, according to their dangerous goods class, and stored separately to minimise the risk of dangerous reaction.

- All chemicals must be kept in a secure lockable storage area that is suitably identified, and not exposed to direct light or heat.

- Chemical storage containers should be appropriately labelled.

- Special storage requirements, as recommended in SDS, must be followed.

- Volatile and toxic materials may require special storage (refer to SDS for details).

- Class 8 dangerous goods (corrosive substances) should be stored in approved corrosives (acid or alkali) cabinets.

- For shelves over benches, chemicals shall not be stored on shelves higher than 1.5m above the floor, including over bench shelving.

- Refrigerated storage of chemicals may be required, however, domestic refrigerators must not be used for the storage of flammable chemicals.

Chemical containers for chemicals in storage must be labelled, and the label must include the following information:

- Chemical Name.

- Manufacturer or importer of the chemical.

- The hazard statement (or pictogram) consistent with the chemical classification.

- Other appropriate information e.g., purpose.

Chemicals in storage should be reviewed to ensure the containers are not leaking, that the labels are in good condition and to ensure that the chemical is still needed. Regular review of chemical storage areas must be conducted to ensure that labels remain in place or is replaced, to avoid the need to dispose of unknown chemicals.

### Decanting

Chemical decanting involves transferring chemical from a larger container to a smaller container, often to transfer into a smaller or more useable container or for dilution. Chemical decanting and dilution activities should be managed using a SOP.

Transfer operations must eliminate, or control, the risks associated with possible:

- Spills and/or leaks.

- Static electricity.

- Vapour generation.

Chemicals transferred into another container for collection use and not supplied to another workplace require minimal labelling, so long as workers involved in handling it are inducted into the laboratory where the chemicals are in use and there is sufficient identifying information to ensure safe use of the chemical.

### Contaminated Specimens or Objects

Collection items may be contaminated with harmful chemicals or substances, due to the materials used to manufacture, preserve, or treat the item. Systematic assessment of existing collection material should be conducted in order to identify potential contaminants such as heavy metals or radioactive substances.

All new incoming collection items (e.g., inward loans, research material and acquisitions proposals) must be assessed for contaminants and other hazards before entering the collection or going on display to reduce risks to staff, researchers and the public.

## Biological Specimens

### Introduction

The Commonwealth Department of Agriculture, Fisheries and Forestry (DAFF) administers the importation and use of biological products in order to ensure safe handling, security and disposal of such products in Australia. Their aim is to prevent or control entry, establishment or spread of pests and diseases that will or could cause significant damage to humans, animals, plants, the environment, or economic activities.

Use of the Quarantine Laboratory must be in compliance with DAFF procedures. In the event of any conflict with DAFF procedures and this manual, DAFF procedures take precedence.

### Imported Biologicals

Imported biological materials are products containing material of human, animal, plant or microbial origin and include foods, therapeutics, laboratory materials and vaccines.

The importation of some biological products is subject to certain quarantine conditions, as outlined in the Biosecurity Import Conditions system BICON. It may be necessary to obtain approval from DAFF before importing biological material (refer to Application to Import Biological Material).

Low risk biologicals do not require a quarantine entry permit and include:

(i) human tissue (blood, serum, plasma), human genetic material and fluids;

(ii) synthetic laboratory reagents (not derived from human, animal, plant or microbiological substances);

(ii) organic chemicals and substances;

(iii) non-biological buffers (e.g., Tris and EDTA);

(iv) oligonucleotides and primers;

(v) synthetic culture media; and

(vi) preserved museum specimens, fixed in at least 70% ethanol, or 10% formalin.

High-risk biologicals do require a quarantine import permit and include:

(i) animal tissues, extracts and fluids;

(ii) animal blood, serum or plasma products;

(iii) animal serum containing antibodies;

(iv) animal or microbiologically derived enzymes, hormones or proteins;

(v) genetic material (other than human);

(vi) microorganisms;

(vii) cell lines and any derived products (including human cell lines);

(viii) culture media containing animal, plant, human or microbial material;

(ix) experimental, non-released vaccines; and

(x) human faeces of material known to be infected with a pathogenic organism.

Refer to BICON for current quarantine import conditions and, if necessary, the DAFF checklist for importing biological materials. It is also necessary to keep records for imported goods that should include the following details:

(i) date the material was received;

(ii) quarantine entry number;

(iii) name of the supplier;

(iv) import permit number;

(v) description of material;

(vi) batch number;

(vii) proposed research and analysis details;

(viii) details of any special treatments;

(ix) date when research or analysis was completed; and

(x) methods and dates of disposal.

### Contamination

- Do not bring food or drink, for personal consumption, into the laboratory or store it in laboratory refrigerators.

- Eating, drinking, smoking, shaving and the application of cosmetics is prohibited in the laboratory.

- Do not bring personal items or display personal images or decorations within the laboratory as they will become contaminated.

- Wash skin areas that come in contact with chemicals, irrespective of concentration.

## Moving, Handling and Transport

Specimens and containers should be handled in a manner that will reduce the likelihood of spills and leaks. This will normally require using trolleys for transporting chemical containers and specimens. The following measures are used to minimise the risk from moving, handling or transporting specimens or containers:

- Containers must be properly closed prior to movement and must only be transported on trolleys.

- Do not carry or store together containers of incompatible substances, which may react dangerously (e.g., bleach and acid).

- Packages, including jars, shall be kept closed when not in use. Packages containing flammable liquids should only be opened, or decanted, in well-ventilated areas and away from potential ignition sources.

- Opening of packages (jars), transferring contents, dispensing, and sampling shall not be carried out on top of containers or cupboards, unless they are designed for that purpose.

- Ethanol decanting, and top-up of containers, must only be undertaken in fume cupboards or at down-draft sinks – not at work benches.

- For shelves over benches, chemicals shall not be stored on shelves higher than 1.5m above the floor.

- Always exercise care when opening and closing doors and entering or leaving the laboratory.

- Do not run or indulge in reckless behaviour in the laboratory or corridors.

- Immediately clean up spills and appropriately dispose of wastes, including packaging.

- Use trolleys to move packages, unload immediately and return to the designated storage area.

- Keep all fire escapes, safety showers, access to first aid kits and fire protection equipment clear at all times.

- Label all safety equipment and maintain it in good operating condition. Check and inspect safety equipment for correct operation, in accordance with the manufacturer’s instructions and report, in writing, any requirements for maintenance.

### Glassware

The following precautions apply to the handling and use of glassware:

- Glassware must be securely stored, so as to minimise the risk of breakage.

- Do not use broken, or chipped, glassware.

- Protective gloves should be worn when cleaning glassware.

- Commercial agents may be used, however, chromic acid should only be used as a last resort.

- Only non-contaminated broken glass can be placed in approved bins that are marked ‘Broken Glass’.

- Glassware modification, by glass blowing, is not permitted.

- Eye protection should be worn where appropriate.

Broken glassware should be segregated into approved ‘Clean’ or ‘Contaminated’ broken glass containers. Persons handling the glassware are responsible for its segregation, decontamination (if required) and correct disposal, at the time of generation.

Clean, broken glass is laboratory glassware that is not contaminated with any biological or infectious material (animal blood, body fluids, parts or materials; microbiological materials), toxic, cytotoxic, recombinant or radioactive substances or chemicals.

- Clean, broken glass is picked up by using paper or a dustpan and brush to avoid contact with the skin, and collected into a dedicated rigid impenetrable container, or bin, that is clearly labelled with ‘Clean Broken Glass’. When full, the container should be sealed, to prevent injury to persons handling the container, and be transferred to the nearest industrial waste bin for disposal.

- Where a glass recycling service exists, then the sealed container may be transferred to the recycling bin. Borosilicate glassware, such as Pyrex, is not suitable for recycling.

- Fluorescent tubes should be placed directly into industrial waste bins.

Contaminated, broken glass should be dealt with in the following manner:

- Small items (e.g., beaker < 500 ml) should be placed in sharps containers for collection and disposal by an approved contaminated waste contractor.

- Large items of broken glassware should be decontaminated, if necessary, with assistance of a contaminated waste contractor, before disposal.

- If contaminated with chemicals, safely extract fumes from glassware overnight in a fume cupboard and decontaminate appropriately before placing into a ‘Clean Broken Glass’ container, for disposal into an industrial waste bin, when full.

If contaminated with biological products, or infectious materials, items should be autoclaved or disinfected to remove any contamination before placing into a ‘Clean Broken Glass’ container for disposal into an industrial waste bin, when full.

### Trolleys

Trolleys allow for large, fragile or numerous items to be moved in a safe and secure manner. Trolley size and casters should be designed to suit the work, the loads, surfaces and areas that it is used in. The trolley should be stored in a designated location and returned to this location after use.

Do not overload the trolley, with items that are too heavy or where items may fall. Push rather than pull a trolley to avoid back and shoulder strain.

Trolleys must be maintained with regular cleaning and inspection. If a trolley has become damaged or the casters do not roll easily it should be either repaired or replaced.

### Ladders

Ladders allow workers to access and reach items stored at height. Ladders must be industrial type with a 120kg safe working limit. A platform ladder is preferred because it provides a stable flat surface where the person at the top can use both hands to reach an item.

Ladders present a serious risk of injury if not used properly, to avoid falling from the ladder all personnel are instructed to:

- Select the ladder that suits the work and the work area to avoid reaching.

- Inspect the ladder before use, checking for bends or damage, including worn rubber feet. Report problems and immediately remove and replace any damaged ladders.

- Use a ladder on a flat and stable surface where it can be extended properly.

- Allow only one person on a ladder at one time and avoid overloading the ladder.

- Keep your body close to the ladder centre to avoid leaning or reaching away from the ladder.

- Maintain three points of contact with the ladder and face the ladder when climbing or descending.

- Move bigger items in stages or hand it to another person to avoid carrying anything when climbing or descending the ladder.

# Incident Response

## Sharps Injury and other Biological Hazard Exposure

Sharps includes, syringes, needles, scalpels, razor blades, broken glass or any other sharp implement with the potential to cause a penetrating injury.  This also includes certain types of collection objects such as arrows, spears, edged weapons and medical equipment. If a person sustains a ‘sharps’ injury:

- Remove any contaminated clothing.

- Wash the injured area thoroughly with soap and water.

- If the eye/s are involved, rinse with running water or saline solution.

- Administer appropriate first aid for any bleeding or embedded object.

- Seek assistance from a first aid officer, if required.

- Identify the source of the sharp if possible and assess the risk status of the source.

- All personnel who sustain a sharps injury in which there is any risk of contamination must attend a general practitioner for assessment and, if necessary, counselling.

- Submit or assist with the submission of a [Business Name] Incident Report and inform the responsible person.

### Management of Needle Stick and Biological Exposures

Biological hazards are organic substances that pose a threat to the health of humans and other living organisms. The laboratories biological hazards include specimens of potentially infectious and/or hazardous agents, such as animal blood or tissues, and contaminated sharps.

The following precautions should be followed when working with biological hazards:

- Ensure that any equipment that might harbour biohazards (e.g., fans, ventilation systems) is regularly maintained, cleaned and sterilised.

- Clean and disinfect work surfaces often.

- Clean up spills immediately.

- Handle and dispose of all bio-hazardous waste materials safely. Blood and any other bodily fluids should always be handled as if they could be infectious. In the event of an injury or bleeding, every individual should be handled in a way that minimizes exposure to blood and body fluids.

- Wear personal protective equipment (e.g., gloves, masks), where appropriate.

First aid should be administered when there has been, or there is reason to believe there has been, an inappropriate exposure to a biological hazard, such as a needle-stick injury or a cut, or a mucous membrane exposure to blood or other body fluids. Medical treatment should be sought if there is risk of infection or damaging health effects from the needle-stick injury.

Report all needle stick and biological exposure events using the [Business Name] Incident Report.

### Contamination

All incidents where contamination has been identified and a risk of exposure to contamination to either a biological or chemical agent must be reported on the [Business Name] Incident report.

## Spills Management

Spills in the laboratory may range from a minor incident to a significant hazardous event that may result in a person(s) and/or the environment being harmed.

Liquid spills must be cleaned up without delay. Laboratories must be prepared to respond to spills of the type of liquids contained within the laboratory with the provision of spill kits and information on the use of the spill kit. Spill kits must be maintained with regular inspection and resupply of expired supplies.

- Chemical spills may require neutralisation using a neutralising absorption medium.

- Biological spills must be treated with the appropriate method to collect solids, absorb liquids and clean the affected area.

- Laboratories that use glass must have a sharps container for glass disposal. Laboratory glass must not be disposed of in general waste.

- Sharps such as scalpels and needles must be disposed of in a sharps container.

### Chemical Spill Preparedness

Chemical spills and leaks need to be contained safely within a limited area. Any area, or receptacle, intended to contain spills or leaks must not be shared with any other substances that are not compatible with the chemical to be contained.

Before using a chemical, a risk assessment must be developed to address clean-up requirements. SDS must be readily accessible for all chemicals used in the laboratory. Refer to the SDS for details on PPE and spill clean-up requirements. Risk assessments are completed in Chemwatch or another [Business Name] authorised chemical database.

A spill kit, suitable for the chemical clean-up, must be provided near the activity. This should be documented in a risk assessment. Information regarding how to manage spills should be read and understood by all who work or use a laboratory.

The method(s) and material(s) used for spill containment will be dependent upon a number of key factors. These include, but may not be limited to, the:

- Toxicity of the substance.

- Nature and type of substance.

- Size of the spill.

- Location of the spill.

- Consequences of the spill.

- Compatibility with other goods that could be spilt.

- Availability or otherwise of emergency services.

### Maintenance and Supply of Spill Kits

All laboratories and wet stores should have kits strategically placed in key areas that are appropriate for controlling the risks associated with a spill of the type of hazardous material(s) being used. Spill kits must be appropriately located, maintained, and are readily accessible at all times.

Commercially available kits may be purchased for specific hazards or may be prepared after referring to SDS. Kits should be placed in the appropriate area(s) before the hazardous material(s) is used and may include:

- Suitable PPE, including clothing, chemically resistant gloves and boots, safety glasses/face shields, respiratory equipment.

- Material to contain the spill, e.g., clean, dry sand or a commercial product.

- Material to absorb the spill, e.g., clean, dry sand or vermiculite, absorbent towels or a commercial product.

- Warning placards and barriers, e.g., ‘Do Not Enter – Biohazard’.

- Approved containers to contain leaking packages and store waste materials.

- Materials for decontamination procedures, e.g., sodium hypochlorite, ethanol, iodophor.

- Neutralising agents, e.g., soda ash.

- Hand tools, such as mops, buckets, squeegees and bins.

- Portable ventilation equipment.

All kits must be regularly checked by Program or Section Managers to ensure that they remain appropriate for the type(s) of spill(s) that could occur, are complete, are serviceable and are always readily accessible.

### Emergency Spill Procedure

Immediate action is to be taken, by the person(s) noticing the spill, to implement an effective clean-up protocol. In the event of a spill or leak:

- any risk associated with the spill or leak must be immediately reduced; and

- the chemicals and resulting effluent are cleaned up and disposed of, or made safe.

All spill incidents must be reported on the [Business Name] incident report, so that the circumstances that led to the spill can be determined and remedial measures implemented, to prevent a recurrence. If a spill occurs, the following procedure should be followed:

- Implement immediate measures to minimise exposure of persons (including own self) to the material that has been spilt by evacuating the immediate area or the laboratory.

- Ensure that a person(s) is posted at the entrance(s) to the laboratory, to stop unauthorised people from entering the contaminated area.

- Alert a fire warden of the emergency situation as soon as possible.

- Do not attempt to clean-up the spill unless effective risk control measures can be implemented, e.g., the nature of the material is known, the correct method of clean-up is understood and the correct PPE is available.

- Determine if the spill can be managed at the local level, using information on the nature of the material, the extent of the spill, and the resources available to contain and/or treat the spill.

- If the emergency management information contained in the SDS is unclear, or the SDS cannot be accessed for any reason, contact emergency services.

- Ensure that all absorbent, or contaminated, material is placed in sealed containers, labelled and appropriately disposed of as contaminated waste, at the completion of the clean-up; and

- All incidents involving major spills must be reported using the [Business Name] Incident Report and escalated to the [Business Name] WHS Department. WorkSafe may need to be notified.

- For spills that staff may not be able to clean up safely, the room must be evacuated and personnel must be prevented from entering the area.

- Refer to the [Business Name] Emergency Response Plan for initiation of evacuation procedures.

### Chemical Spills

Chemical spills may be converted to a less harmful form by neutralisation, oxidation or reduction. When decontaminating spills, care must be taken to ensure that the spill and/or resultant product:

- Does not contaminate the environment.

- Does not enter the sewerage or drainage system.

- Is disposed of appropriately.

In the event that decontamination is not an option, and/or the spill is too large and/or you are not trained in chemical spills management, the first priority is to follow the emergency spill procedure and report the incident immediately to the person responsible for the laboratory or line manager.

Neutralisation decontamination procedures may be used for spills of acids and bases. The following criteria must be taken into account when determining the procedure to be used:

- The identity and concentration of the acid or base.

- The possible violence of the neutralisation reaction.

- The surface material to be decontaminated.

- The volume of the spill.

### To Neutralise a Spill:

- Contain the spill by surrounding it with a non-combustible material, e.g., sand.

- Neutralise acid spills with lime, soda ash, calcium carbonate, sodium bicarbonate or limestone.

- Use only dry products with acid spills, as water reacts violently with concentrated acids.

- Neutralise alkali spills with a dilute solution of hydrochloric or acetic acid.

- After the neutralization reaction is complete, collect the end-product by absorbing with a non-combustible material, and then scoop up the material.

- Seal material in an appropriate container prior to disposal.

Qualified and expert professionals should handle concentrated spills too large for staff to handle. In cases where the spill volume is large enough for the fixed and/ or personnel LEL meter alarm to activate, the area/facility should be evacuated and emergency services contacted.

For other chemical substances refer to the SDS for specific spill procedures or seek advice from a person responsible for the laboratory or a manager. Waste material from spill clean-up (i.e., absorbent materials and other disposable items) should be segregated from general waste and disposed of using a commercial toxic waste disposal contractor.

### Chemical Spills in Fume Cupboards

The basic steps for chemical spills in fume cupboards are:

- Use standard operating procedures for chemical spills.

- Leave the fume cupboard exhaust running while cleaning up spills.

- Small liquid chemical spills should be contained and absorbed with absorbent towel, pads or mats. Leave the absorbent material in the fume cupboard to allow fumes to extract before disposing appropriately.

- Solid spills should be cleaned carefully to minimise dust generation.

- Refer to chemical SDS for detailed spills management information.

- In the event of a fire, or large liquid chemical spill, immediately activate the emergency isolator button, to isolate all electrical or gas services, and leave the exhaust running. Allow sufficient time for fumes to extract before cleaning up the spill.

- Refer to the manufacturer’s manual for directions on how to clean and decontaminate the work surface and the sump area under the fume cupboard work platform.

### Biological Spills

Biological spills are spills that contain potentially pathogenic microorganisms and/or other biohazardous materials, such as specimens of potentially infectious or hazardous biological material, e.g., animal blood or tissues. As with all laboratory spills, biological spills must be dealt with immediately to minimise the risk of infection and contamination.

The basic steps for biological spills management are:

- Use appropriate PPE.

- Confine and contain the spill.

- Do not exacerbate the risks by generating aerosols during the clean-up, avoid splashing or dry sweeping.

- Do not use an aerosol disinfectant to decontaminate the spill

- Use appropriate decontamination agents; and

- Dispose of contaminated paper towels in clinical waste receptacles, avoid compressing a waste bag once cleaned up.

## Power Failure

Power failure within a laboratory is a serious risk to the safety of personnel and to specimens kept in cold storage.

Power failure will impact the function of equipment designed to keep workers safe in the laboratory. This equipment includes fume cupboards, cold storage, and air handling systems. A power failure will significantly limit the type and duration of laboratory work, any work that requires the use of a fume cupboard must cease. Workers should not continue to occupy a laboratory where the normal air handling system is no longer functioning.

Cold storage equipment is often connected to back up power, this is organised and managed by [Business Name] Facilities. Backup power will supply electricity to cold storage equipment in the event of a power failure. Cold storage equipment must not be moved away from the power that is protected by backup power.

If a significant power failure occurs and backup power also fails any biological specimens contained within cold storage will need to be urgently transported to other cold storage facilities, this could be on another [Business Name] site. The laboratory must prepare for this by:

- Identifying items of high value for priority relocation.

- Keeping storage areas organised with easy access.

- Develop a pre-planned response to quickly transport specimens.

- Having available all equipment and containers needed to quickly transport items.

- Being available to accommodate other [Business Name] laboratories that may need to quickly transport and store items in cold storage.

# Disposal of Laboratory Wastes

## Introduction

Laboratory activities, practices and procedures should minimise the amount of laboratory waste generated in the first instance, by implementing waste minimisation strategies. This is outlined in the following hierarchy for managing waste, from most desirable to least desirable:

- Avoid unnecessary resource consumption, e.g., reduce quantities purchased, reduce scale of experiments.

- Recover resources, including reuse, reprocessing, recycling, transfer and exchange, energy recovery.

- Dispose, as a last resort.

Staff should be made aware of the great difficulty, and/or expense, associated with the disposal of some types of wastes, e.g., heavy metals, chlorinated solvents, and the associated costs must be allocated to the laboratory or project responsible.

Laboratory waste disposal involves determining:

- Who is responsible.

- Training requirements of contract cleaners.

- The categories into which waste is to be sorted or segregated.

- The temporary facilities for waste storage.

- The collection schedule.

- The final disposal arrangements with an approved waste disposal contractor.

- Maintaining records of disposal of waste in accordance with health and government requirements.

The initial segregation and disposal of waste and the segregation of laundry, into approved containers or bags, must be conducted in the area where the waste or laundry is generated.

All personnel handling bagged laboratory wastes must:

- Not compress bags.

- Not place hands inside the bag.

- Not hold bags close to their body.

- Not hold bags by the base.

## Responsibility for Laboratory Waste and Laundry

The person responsible for a laboratory, where hazardous wastes and laundry are generated, are responsible for ensuring that:

- Staff are fully aware of, and adequately trained in, waste management procedures and there are standard operating procedures in place.

- Materials and procedures are in place for containing wastes and cleaning up spills.

- Waste is kept to a minimum by adopting good work practices and purchasing materials that will reduce waste production.

- Adequate resources are available for waste and laundry management.

- Unwanted, or used, substances are suitably disposed of or transferred to other areas with higher usage.

- All relevant licences and permits required by statutory authorities for discharge and disposal of waste are current.

- Each area maintains a record of waste products, including details of quantities and identification of waste generated, analysis of unknowns and verification of disposal.

- if a specialist contractor is utilised to pick up and dispose of waste, the selected contractor should:

    - be fully licensed to transport and dispose of the category of waste by the relevant authority; and

    - supply written confirmation of the final disposal of the waste.

## Segregation of Laboratory Waste

Many different types of wastes are generated in laboratories and associated facilities. Each category of waste, such as chemical, biological, clinical/sharps and radioactive waste, requires segregation prior to storage and disposal.

Laboratory wastes should be sorted into the following categories as outlined in AS/NZS 2243.1:

- Non-contaminated paper and plastics may be collected in a single layer plastic bag and disposed of as general waste - see AS/NZS 2243.3.

- Broken glass, into a container specifically designed for that purpose and labelled accordingly.

- If broken glass is contaminated, refer to Section 10.8.2 Broken Glass (Clean and Contaminated).

- Sharps - see AS/NZS 2243.3 and AS 4031.

- Chemical - see AS/NZS2243.2.

- Clinical and biological waste - see Section 14.5 below and AS/NZS 2243.3.

- Animal carcasses (see AS/NZS 2243.3 and AS/NZS 2243.4).

Contaminated material such as gloves or paper towel with traces of chemicals should be segregated and disposed of as per the risk assessment (JSA) and regulatory requirements.

## Chemical and Solvent Waste

Chemical waste management involves the treatment, packing and segregation of chemical and solvent waste. Chemical waste, including ethanol, should not be disposed of down the sink.

### Treatment of Chemical Waste

Prior to disposal, chemical treatment procedures should be considered and include:

- Neutralisation of acid solutions.

- Neutralisation of alkaline solutions.

- Reduction of oxidising agents; and oxidation of reducing agents.

### Segregation of Chemical Waste

The following chemical and solvent wastes should be segregated, prior to disposal:

- Halogenated solvents, e.g., chloroform, carbon tetrachloride.

- Non-halogenated solvents, e.g., xylene, methanol, acetone, toluene.

- Mineral acids, e.g., hydrochloric, perchloric, sulfuric.

- Organic acids, e.g., acetic, trichloroacetic.

- Bases, e.g., sodium hydroxide, photographic developer.

- Oxidising agents, e.g., sodium nitrate, organic peroxides, potassium permanganate.

- Heavy metals, e.g., arsenic, lead, silver, mercury, chromium.

- Poisons, e.g., cyanides, sulphides.

- Water-reactive materials, e.g., sodium, potassium.

- Carcinogens, e.g., polycyclic hydrocarbons, aromatic amines, nitrosamines.

- Cytotoxic drugs.

### General Procedures for Chemical Waste Storage and Disposal

The following general procedures apply for chemical and solvent waste:

- Liquid Waste Storage: Liquid wastes, such as solvents, organics or acids are to be stored in containers approved by the statutory authority. The container should be:

(i) resistant to the chemical contents;

(ii) able to be sealed;

(iii) suitable for transport; and

(iv) not more than 20L capacity. Commonly, 15L Australian dangerous goods approved plastic drums are used.

- Solid Waste Storage: Solid waste, and small quantities of hazardous liquid waste, should be stored in their original containers, prior to disposal;

- Labelling of Waste Containers: Waste containers must be clearly labelled with the:

(i) the identity of any known or likely hazardous constituents or impurities and their proportions

(ii) relevant precautionary statements and first aid and safety directions

(iii) quantity being disposed of

(iv) the date; and

(v) name of the person responsible for the waste, and their Program or Section.

- Compatibility: Only compatible substances should be packed in the same container; and

- Segregation of waste containers: When storing hazardous waste containers, they should be segregated, if necessary, and stored in accordance with statutory requirements.

## Clinical and Biological Waste

Clinical and biological waste, known as clinical and related waste, has the potential to cause injury, infection or public offence. Clinical and biological wastes fall into the non-liquid wastes category and must be disposed of at the point of generation.

Clinical and biological waste includes:

- Animal waste, e.g., animal tissue and remains, carcasses, bedding and other materials from infected animals etc.

- Microbiological waste, e.g., petri-dish and other micro-organism cultures, cell culture materials etc.

- Quarantine waste from imported biological material.

- Sharps waste, e.g., needles, syringes, scalpels, lancets, contaminated broken glass.

- Gloves and clean-up materials used in handling biological material.

- Cytotoxic and pharmaceutical waste, including any material that is destructive to cells or inhibits reproduction of cells e.g., carcinogens, mutagens and teratogens.

SOPs should include safe work practices for waste handling and segregation, and spills management. Staff should be trained in SOP, and the waste management plan must be regularly reviewed and updated.

All clinical and biological wastes are potentially hazardous, i.e., infectious or have the potential to cause infection or disease and must be segregated from other waste streams and treated as per the regulatory requirements.

### Microorganisms, Clinical or other Infectious Waste

Wastes contaminated with microorganisms of Risk groups 1 and 2 (as defined in AS2243.3), clinical or other infectious wastes, e.g., human and animal blood and body fluids, do not have to be rendered ‘non-hazardous’ before disposal. They must be double bagged and sealed in appropriately labelled “yellow contaminated waste bags” at point of generation. These bags must then be wholly contained within a secondary sealed, leak-proof and unbreakable container, e.g., polypropylene container or garbage bin with sealable lid, before being transported from the laboratory area. The secondary container must be easily decontaminated. Waste bags must then be placed in dedicated, and locked, ‘contaminated waste bins’ until collection by an approved contaminated/clinical waste disposal contractor, for disposal by incineration.

Note: Disposal by this method is subject to the appropriate risk management procedures being in place. This includes the development of risk assessments, training of staff, and availability and use of suitable PPE when handling hazardous wastes, e.g., leak-proof and unbreakable secondary containers for transport of waste bags, gloves, safety glasses/goggles and laboratory coats.

### Liquids Waste:

All liquid cultures, or biological wastes, that have been decontaminated by autoclaving may be disposed of to the sewer (sink).

### Sharps Waste

The following must be adhered to when disposing of sharps:

- SOPs require the minimum amount of handling of sharps.

- Immediately after use, sharps should be placed into a dedicated and secure sharps container that is clearly labelled, for this purpose, and which complies with AS 4031.

- Disposable needles should not be recapped or bent, and disposable needle/syringe sets should be discarded as a single unit into an approved sharps container.

- Sharps containers once filled, should be sealed and placed into suitable contaminated waste bags for disposal. They must not be emptied or reused under any circumstances.

If broken glass cannot be decontaminated, it should be disposed of in suitable containers that are large enough to hold broken glassware, are rigid, impenetrable, and able to be sealed and clearly labelled.

### Waste Containers Bags and Bins

All contaminated or hazardous wastes should be placed into suitable containers or bags that:

- Are identified with the international biohazard symbol.

- Are colour-coded and identified according to the Australian standard AS/NZS 3816:1998 Management of Clinical and Related Waste, with name of person responsible for the waste and the Program or Section generating the waste clearly displayed.

- Are leak-proof and able to be sealed for final closure.

- Are suitable for the purpose, i.e., are able to be autoclaved if required.

- Have sufficient strength to safely contain the waste class they are designated to hold.

- Must not be filled to more than two-thirds of their capacity, or 6 kg, whichever is the lesser.

- Should be double bagged, so as to minimise the potential for breakage and spills of the contents.

All contaminated waste containers/bags should be placed into dedicated, rigid-walled, storage bins, e.g., ‘otto’ bins, that are:

- Hygienic, able to contain spills, lockable and labelled for such storage.

- Usually supplied by a licensed waste disposal contractor, authorised by the regulator.

- Held in a suitably sited and sign-posted area that is kept secure at all times, prior to collection by the approved waste disposal contactor.

All solid contaminated waste should be collected and disposed of by high temperature incineration by an authorised waste disposal contactor.

Appropriate records of waste disposal must be kept by the waste generator for a period of at least three (3) years as follows:

- Name, address and license number of the authorised contractor.

- Copy of agreement for waste disposal.

- Accurate identity of waste type and advice to authorised contractor of details for each load.

- Date of collection.

- Receipt of waste disposal or incineration from the authorised contractor for each load.

### Mixed Waste

The following strategies should be considered, when dealing with mixed wastes:

- Endeavour to minimise the production of mixed wastes.

- Assess the risks associated with the hazards.

- Minimise the hazard, e.g., use water-based chemicals instead of solvent-based chemicals.

- Choose an appropriate disposal option, and if possible a single option, e.g., incineration.

- Identify multiple statutory requirements.

- Ensure that laboratory staff are adequately trained in waste management.

Treatment and disposal of mixed waste must ensure that all hazards are appropriately addressed.

# References

Work Health and Safety Act 2011 (QLD)

Environmental Protection Act (QLD)

Related Documents

| DOCUMENT TITLE | DOCUMENT LOCATION (html links) |
| --- | --- |
| Hazard Reporting procedure |  |
| Incident Reporting procedure |  |
| Risk Management procedure |  |

Document History

| VERSION | DATE | AMENDMENT |
| --- | --- | --- |
| 0.1 |  | Initial development |
| 0.2 |  | Draft for comment |
| 0.3 |  | Draft for final review |
| 0.4 |  | Approved |

Document Owner

| Document Maintained By: |  |  |  |
| --- | --- | --- | --- |
| Last Review Date: |  | Next Review Date |  |

Document Approval

| Approved By |  |
| --- | --- |
| Title: |  |
| Date: |  |

Dangerous Goods Segregation (from WHSQ)

| Class of goods |  | 2.1 | 2.2 | 2.2 SR 5.1 | 2.3 | 3 | 4.1 | 4.2 | 4.3 | 5.1 | 5.2 | 6.1 | 8 | 9 | Combustible liquids |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2.1 |  | A | B | S1 | S1 | S2 | S2 | S4 | S5 | S2 | S4 | S1 | S1 | C | S2 |
| 2.2 |  | B | A | B | S1 | S2 | S2 | S4 | S5 | B | S4 | B | S1 | C | S2 |
| 2.2 SR 5.1 |  | S1 | B | B | S1 | S2 | S2 | S4 | S5 | S2 | S4 | C | S1 | C | S2 |
| 2.3 |  | S1 | S1 | S1 | I | S2 | S2 | S4 | S5 | S2 | S4 | C | S1 | C | S2 |
| 3 |  | S2 | S2 | S2 | S2 | A | S3 | S4 | S5 | S2 | S4 | S3 | S3 | B | B |
| 4.1 |  | S2 | S2 | S2 | S2 | S3 | A | S4 | S5 | S2 | S4 | S3 | B | B | S2 |
| 4.2 |  | S4 | S4 | S4 | S4 | S4 | S4 | A | S5 | S4 | S4 | S4 | B | B | S4 |
| 4.3 |  | S5 | S5 | S5 | S5 | S5 | S5 | S5 | A | S5 | S5 | S5 | S5 | G | S5 |
| 5.1 |  | S2 | B | S2 | S2 | S2 | S2 | S4 | S5 | D | S4 | C | S3 | C | S3 |
| 5.2 |  | S4 | S4 | S4 | S4 | S4 | S4 | S4 | S5 | S4 | E | CE | S4 | CE | S4 |
| 6.1 |  | S1 | B | C | C | S3 | S3 | S4 | S5 | C | CE | A | H | B | S3 |
| 8 |  | S1 | S1 | S1 | S1 | S3 | B | B | S5 | S3 | S4 | H | F | C | S3 |
| 9 |  | C | C | C | C | B | B | B | G | C | CE | B | C | A | B |
| Combustible liquids |  | S2 | S2 | S2 | S2 | B | S2 | S4 | S5 | S3 | S4 | S3 | S3 | B | A |
| Likely to be incompatible. Segregation strongly recommended, see guidance below: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| S1 | Segregate these goods by 3m or more in a well-ventilated area. For liquid dangerous goods the distance is measured from the edge of the spill catchment area. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| S2 | Segregate by 5 m or more. If one of the dangerous goods is a liquid, measure the distance from the edge of the spill catchment area. Liquid dangerous goods should be located within a separate spill catchment area. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| S3 | Segregate by 3 m or more for PG III goods and 5m or more for PG II, PG I goods or where the goods may react dangerously. If both are solids, then a minimum of 1m separation may be used. Where one of the goods is a liquid, the distance is measured from the edge of the spill catchment area. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| S4 | Segregation preferred by the use of fire-rated partitioned areas. Consider use of separate detached building for organic peroxides and for highly pyrophoric class 4.2 goods. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| S5 | Segregation of class 4.3 preferred by use of a separate, detached building without water-based fire suppression system. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| May be compatible in many cases with exceptions, see guidance below |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| A | In most cases materials of the same class will be compatible. However, not all materials with different UN Numbers will always be compatible. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B | In many cases the goods will be compatible. Must check for subsidiary risk compatibility. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| C | If one of the goods present is also a fire risk substance (one of class 2.1, 3, 4, 5, a combustible liquid or has a subsidiary risk of one of these) or elevated temperature goods, segregation is required by at least 3 m or more. Sub-risk MUST be considered. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| D | Ammonium nitrate is not compatible with tetranitromethane, dichloroisocyanuric acid, any bromate, chlorate, chlorite, hypochlorites, or chloroisocyanurate, or any inorganic nitrate. Calcium hypochlorite (and its mixtures) are incompatible with dichloroisocyanuric acid, ammonium nitrate, or any chloroisocyanurate. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| E | Organic peroxides are highly reactive materials. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| F | Where one of the goods to be stored together is a concentrated strong acid and the other a concentrated strong alkali, they should be deemed incompatible. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| G | Class 4.3 goods must not be stored next to goods that are in a solution containing water, or where water or foam is the chosen firefighting/spill/leak dispersal or suppression media for the area. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| H | Except where the class 6.1 is cyanide and the class 8 an acid. Check the SDS. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| I | Toxic gases ammonia and chlorine must be segregated due to risk of explosion. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

WHS Roles and Responsibilities

| Task/Duty | Everyone | Person Responsible | Program or Section Managers | Facilities Support | Senior Managers |
| --- | --- | --- | --- | --- | --- |
| Risk Management | Report injuries, hazards and 'near misses' incidents using the Incident Report Process. | Report injuries, illnesses, hazards and 'near misses' using the [Business Name] Incident Report. | Monitor the program or section work for significant change and implement change management to ensure that systems, equipment and program or sections remain compliant. | Responsible for overseeing, coordinating, facilitating or delegating contractual work relating to the (re)design, modification, repair and/or upkeep of a laboratory or facilities. | Ensure that staff have resources to develop, implement and monitor the strategies, systems and procedures necessary to ensure that this [Business Name] can be fully implemented. |
|  | Seek information, or advice, where necessary before carrying out new or unfamiliar work. | Participate and instruct staff on the completion of formal risk assessments for work conducted as part of their area of responsibility. |  |  |  |
|  | Take the action(s) necessary to eliminate or minimise any hazards over which they have control. | Monitor activities within the laboratory to check that risk control measures outlined in risk assessments are implemented. | Monitor the work conducted in the program or section to ensure that formal risk assessments are completed by staff, researchers and volunteers and ensure that all appropriate control measures are implemented. | Ensure that work relating to the (re)design, modification, repair and/or upkeep of a laboratory or facilities is undertaken in a manner that does not compromise the safety of person(s) or property. | Remain aware of legislative or industry changes that may materially affect health and safety management within a laboratory setting. |
|  | Wear clothing and footwear appropriate for the work being done. Only consume, or store, food and drink in designated areas. | Establish, monitor and maintain checks of hygiene and housekeeping standards within their area of responsibility. |  |  |  |
| WHS training and instruction | Complete the appropriate safety induction and training. Comply with safety instructions, policies, and procedures, including SOPs. Make proper use of all safety devices and PPE. | Monitor training and instruction of the persons performing laboratory work in their area of responsibility or research, including the provision of the laboratory safety induction and personal protective equipment. Instruct inductees that unauthorised experimentation or procedures are not permitted, and any new work must not proceed until a documented risk assessment is conducted. | Ensure that staff receive the information, instruction and training necessary for them to learn and work in accordance with the [Business Name]. | Ensure that contractors are competent, hold the appropriate licences, certificates of competency, permits and accreditations and have prepared appropriate risk assessments and work method statements, prior to commencing work, and understand the nature of the working environment. | Monitor the implementation and effectiveness of the work health and safety standards and practices set out in this [Business Name]. |
|  | Follow hazardous chemical requirements, updating the register and Safety Data Sheets (SDSs), labelling and storage. | Oversee compliance with hazardous chemical requirements including, register SDS and storage and labelling. | Provide support to those responsible for overseeing compliance with hazardous chemical requirements, with access to chemical management software, storage and resourcing. | Ensure that laboratories are provided with adequate facilities to store chemicals. | Monitor compliance with regulatory requirements for the use of hazardous chemicals. |
| Safe Equipment | Report issues with equipment safety. Assist with monitoring and testing activities to maintain safe equipment. | Monitor the serviceability of fixtures, portable equipment, and apparatus and facilitate repair and/or replacement as required. Ensure that laboratory equipment is cleaned and isolated prior to handover for maintenance. | Provide support to those responsible for laboratories for monitoring and inspection activities. | Ensure that all fixed laboratory safety equipment is properly installed and remains in a serviceable condition, including cold rooms, fume and dust extraction units. Ensure that ladders and chemical cabinets remain fit for use. | Monitor the completion of inspections to ensure equipment and facilities remain adequate. |
| Waste management | Appropriately dispose of hazardous wastes and materials. | Oversee the proper segregation, storage and disposal of hazardous wastes. | Provide support to those responsible for laboratories for waste management. | Ensure effective protocols in place for the handling, storage, transport and disposal of equipment, chemicals and waste. | Monitor resource consumption and waste generation. |
| Emergency Response | Be familiar with emergency and evacuation procedures and comply with emergency instructions. | Ensure that emergency management information is prominently displayed and maintained within the laboratory. Regularly check, test and document the serviceability of specific laboratory emergency equipment, not under the control of facilities manager. | Provide support to those responsible for laboratories to maintain emergency response information and training. | Ensure that appropriate emergency management plans are developed, implemented, and regularly tested and that staff, volunteers and contractors are trained in what action(s) they must take should an emergency arise within a laboratory. | Monitor Emergency response preparations and compliance. |